## Slide 2
WUI Placard

## Slide 3: Purpose
The WUI Placard (ICS 231) is designed to document property information found during structure assessment. (At a specific point in time)
The WUI Placard (ICS 231) allows the firefighters to communicate a basic assessment of conditions to other responding units.

## Slide 4: WUI Placard
8.5 X 11”
Print on yellow card stock – Preferably 60lb minimum
1” border to accommodate tape
All text and symbols are black to allow for photocopying
Print 2-sided with directions for use on back side

## Slide 5: WUI Placard
Instructions for completing the placard

## Slide 6
1: Access: Does it appear to have access/egress and turnarounds for Type I fire engines?
Yes = Circle
O
No = Circle with diagonal slash
Ø

## Slide 7
2: Address or Location:
Complete for address or
location being assessed
Write in

## Slide 8
3: Water Source: Does the structure appear to have a water source for use by fire engines? (i.e. swimming pool, hot tub, garden hose, hydrant)
Yes = Circle (describe in the “Special Notes or Hazards” area)
O
No = Circle with diagonal slash
Ø

## Slide 9
4: Defensible Space: Does it appear that a minimum of 100’ of combustible vegetation has been cleared away from the structure?
Yes = Circle
O
No = Circle with diagonal slash
Ø

## Slide 10
5: Civilians Present: Do civilians appear to be present at the site?
Yes = Circle (describe in the “Special Notes or Hazards” area)
O
No = Circle with diagonal slash
Ø

## Slide 11
Special Notes or Hazards:
Identify any special
notes or hazards in
this area

## Slide 12
6: Date and Time: Write in
7: Resource ID: Write in

## Slide 13
WUI Placard
instructions
for use
On back of
placard

## Slide 14: WUI Placard
Instructions for placement and posting of completed document

## Slide 15
Place card in a
location visible
from the street.

## Slide 16
Place card in a
location visible
from the street

## Slide 17
Make sure card is legible
and the information is
easy to understand

## Slide 18
Additional WUI Placards
may be placed over previous
cards when there are
significant changes observed.
This will also give resources
a more thorough history of
the residence.

## Slide 19
Note changes in information at different assessment times

## Slide 20
When multiple residences
are encountered in one location,
give clear direction
to each residence on the
appropriate placard.

## Slide 21
Note directions to location
of structure in the “Special
Notes or Hazards” area

## Slide 22
The final decision
to defend a structure
is always up to the
assigned resource

## Slide 23
WUI Placards (ICS 231) can be
downloaded from the FIRESCOPE
website at:
WWW.FIRESCOPE.ORG